## Sheet1
Stream name | Unit | Instrument | Long name | Notes | Stream | Measurement interval
e | Pa | Licor Li-7500 / Campbell CSAT3 | Ambient water vapor partial pressure |  | SINGLE | 30 minutes
WS_1_2_1 | m s-1 | WindSonic 75 | Wind speed sonic 2m mean |  | SINGLE | 1 minute
SW_IN_1_1_1 | W m-2 | Kipp&Zonen CM11 upgraded | Incoming shortwave radiation |  | BASIC/SINGLE/ADVANCED-METEOROLOGY | 1 minute
P_1_1_7 | mm | Ott Pluvio S, no heating | Precipitation weighing gauge |  | BASIC/SINGLE/ADVANCED-METEOROLOGY | 1 minute
TA_2_1_1 | °C | PT100 | Dry bulb temperature ventilated (1.5 m) |  | SINGLE/ADVANCED-METEOROLOGY | 1 minute
Citation:
Heusinkveld, B.G., Barten, J.G.M., Fry, J.L., van der Molen, M., Nursanto, R.M., Ronda, R.J. & Snellen, H. (2024). MAQ-Observations v1.0: Veenkampen [Data set]. https://maq-observations.nl/. Last accessed (2026-03-16).